## SUMMARY
SUMMARY STATEMENT - ELECTRICAL WORK
Sr no | Description | AMOUNT
A | ELECTRICALS WIRING WORKS | Rs.
B | ELECTRICALS LIGHT FITTING SUPPLY | Rs.
C | FIRE ALARM SYSTEM | Rs.
D | CCTV & EPABX & AUDIO SYSTEM WIRING WORKS | Rs.
TOTAL AMOUNT BEFORE GST
ADD 18% GST
TOTAL AMOUNT WITH GST

## electricals
A - ELECTRICALS WORKS
Sr. No | Particulars | Qty. | Unit | Rate (Rs.) | Amount
A. | Second Floor
1 | Supply and Fixing of light point using 1 sq.mm. Anchor/Polycab make FRLS multi-stand copper wire, Diamond make concealed PVC pipng,Legrand make mylinc model switches. | 176 | Pts.
2 | Supply and Fixing of sub-light point | 82 | Pts.
3 | Supply and Fixing of Celling fan point with regulator | 19 | Pts.
4 | S & F of separate plug points using 2.5 sq. m.m. Anchor/Polycab make FRLS multi stand copper wire, Diamond make concealed PVC pipng,Legrand make mylinc model 6 Amps modular switch socket, etc. | 133 | Pts.
5 | S & F of sub-6amp plug point | 24 | Pts.
6 | S & F of separate plug points using 1.5 sq. m.m. Anchor/Polycab make FRLS multi stand copper wire, Diamond make concealed PVC pipng,Legrand make mylinc model 6 Amps modular switch socket, etc.(a/c indoor unit) | 26 | Pts.
7 | S & F of anchor fastener fixing 10mmx 75mm with hook and round white rod | 19 | Pts.
8 | S & F of 15 Amps power point using Anchor/Polycab make 2.5 sq.mm. FRLS multi stand copper wire, Diamond make concealed PVC pipng,Legrand make mylinc model 15 Amps, switch socket. | 13 | Pts.
9 | S & F of sub 16amp power point. | 5 | Pts.
10 | S & F of sub-main wiring using 2.5 sq. mm. Anchor/Polycab make FRLS multi stand copper wire, Diamond make concealed PVC piping.(Raw Power) for lighting | 1153 | Rmt.
11 | S & F of sub-main wiring using 2.5 sq. mm. Anchor/Polycab make FRLS multi stand copper wire, Diamond make concealed PVC piping.(UPS) | 993 | Rmt.
12 | S & F of sub-main wiring using 2.5 sq. mm. Anchor/Polycab make FRLS multi stand copper wire, Diamond make concealed PVC piping.(row power) | 993 | Rmt.
13 | S & F of BELL POINT | 16 | Nos.
14 | S & F of main wiring using 4 x 4 sq.mm. Anchor/Polycab make FRLS multi stand copper wire, concealed PVC piping. (UPS Outgoing Supply) | 50 | Rmt.
15 | S & F of main wiring using 2 x 4 sq.mm. Anchor/Polycab make FRLS multi stand copper wire, concealed PVC piping.(Invertor Outgoing Supply) | 50 | Rmt.
16 | S & F of main wiring using 4 x 10 sq.mm. Polycab make ISI mark Copper armoured cable.(a/c outdoor) | 160 | Rmt.
17 | Electrical supply and light arrangement for all contractors work.(Three Floor) | 1 | Job
18 | S & F of earth conductor using 8 swg copper bare earth conductor. | 150 | Rmt.
19 | S & F of sub-main wiring using 1.5 sq. mm. Anchor/Polycab make FRLS multi stand copper wire, Diamond make concealed PVC piping.(Raw Power)a/c | 1103 | Rmt.
20 | S & F of 1.0 sqmm 2core bell running | 739 | Rmt.
21 | S & F of sub-main wiring using 1.5 sq. mm. Anchor/Polycab make FRLS multi stand copper wire, Diamond make concealed PVC piping.(inverter) | 1153 | mtr
22 | S & F of 63amp mcbo with ip65 box | 3 | Nos.
23 | S & F of 12way VTPN d.b MCCB, 100 Amp. , 63 Amp. TPN MCB- 3 Nos.,sp mcb 27no (Switchgear Make: legrand) | 1 | Nos.
24 | S & F of 3 Phase 8way lighting DB using Legrand make 63 Amp., 4Pole RCCB and 24 Nos. SPMCB with powder coated box. | 1 | Nos.
25 | S & F of TPN 8way DB (For invertor) | 1 | Nos.
26 | S & F of TPN 8way DB (For UPS) | 1 | Nos.
27 | S & F OF TPN 8WAY D.B. ( FOR ROW POWER ) | 1 | Nos.
28 | Fixing of Fixtures, downlighter, cabinet light, 2'x2'fitting, celling fan, exhaust fan, tube fitting, mirror light, picture light etc. (Labour charge) | 277 | Nos.
29 | SUPPLY AND FIXING OF 35SQMM 4core ALUMINUM ARMERED CABLE | 60 | MTR
30 | Removing of old wiring. | 1 | JOB
TOTAL -A

## light fitting
B - ELECTRICAL LIGHT FITTING SUPPLY
Sr. | Particular | Qty | Unit | Rate | Amount
B | LIGHT FITTING
1 | HAVELLS MAKE 15WATT LED TYPE DOWNLIGHTER FITTING WH | 158 | No
2 | HAVELLS MAKE 12WATT LED TYPE DOWNLIGHTER FITTING WH | 60 | No
3 | CABINET FITTING | 10 | No
4 | PICTURE LIGHT | 10 | No
5 | HANHING LIGHT AS PER SELECTION ROUND | 4 | No
6 | EXHAUST FAN 150MM make Crompton | 5 | No
7 | CELING FAN 1200MM MAKE CROMPTON HS | 19 | No
8 | HAVELLS MAKE 2' X 2' CONCILED LED LIGHT FITTING | 40 | No
9 | HANGING LIGHT RECTANGLE | 1 | NO
TOTAL -B

## FAS
C - FIRE ALARM SYSTEM
SN | Item Description | Make | Unit | Qty | Rate | Amt
1 | SUPPLY AND FIXING OF 1 Loop Addressable Fire Alarm Panel: Intelligent Fire Alarm Control Panel - Single Loop expandable upto 2 Loops, Maximum 235 Addressable Devices per Loop, 30 Zone, 2 Bell Circuit, Integrated PSU with Battery Charger & Batteries, (Certificated by LPCB) | GST | Nos. | 1
2 | SUPPLY AND FIXING Addressable Smoke Detector Intelligent Optical Detector, Drift Compensation, Sensitivity Adjustment, 8 Bit Processor. Below False Ceiling | GST | Nos. | 45
3 | SUPPLY AND FIXING Addressable Smoke Detector Intelligent Optical Detector, Drift Compensation, Sensitivity Adjustment, 8 Bit Processor. Above False Ceiling | GST | Nos. | 45
4 | SUPPLY AND FIXING Response Indicator for AFC Detectors | Honeywell | Nos. | 45
5 | SUPPLY AND FIXING Short Circuit Isolator Module | GST | Nos. | 4
6 | SUPPLY AND FIXING Addressable Relay Module for Access Control integration | GST | Nos. | 1
7 | SUPPLY AND FIXING Addressable Monitor Module for 3rd party integration | GST | Nos. | 0
8 | SUPPLY AND FIXING Addressable Manual Call Point Semi FlushMounting Re-settable, Supplied with Special Reset Tool | GST | Nos. | 4
9 | SUPPLY AND FIXING Addressable Combined Sounder and Strobe, Loop Powered and 24VDC. | GST | Nos. | 4
10 | SUPPLY AND FIXING MS Junction Box with GI Glands for True Ceiling Detectors, MCP & Hooters | STD | Nos. | 53
11 | Supply & Installation of 2 Core X 1.5 Sqmm Armoured FR-LSH Red Cable with required accessories (Approx) | Polycab | Mtrs | 800
TOTAL - C

## CCTV & EPABX
D - CCTV , EPABX , SPEAKER CABLING JOB
Sr.no | Particular | Quantity | Unit | Rate | Amount
1 | S & F of separate Using d link make cat 6 lain cable wire, Diamond make concealed PVC piping etc. | 970 | Rmt
2 | S & F of separate telephone point Anchor/Polycab make 2 pair .5mm copper wire, Diamond make concealed PVC pipng,Legrand make mylinc model modular Telephone socket, etc. | 29 | Pts.
3 | Supply and Fixing of two pair telephone running rmtr | 1380 | Rmt
4 | S & F of separate Using 1.5SQMM FINOLEX cable, Diamond make concealed PVC piping etc. | 1175 | Rmt
TOTAL - D